CHE 311 "Chromatography"

The Reports

TLC

1.  Include the regular heading.

2.  Explain in your own words what chromatography is and how it works; with emphasis on tlc.

3.  In a few sentences state what you did in this experiment; be specific.

4.  Make a table showing the Rf values for each component for each adsorbent.

5.  Discuss the results of your experiment.

6. Answer questions:

- Two components, A and B, were separated by tlc.  When the solvent front had moved 10.0 cm above the level of the original spot, the spot corresponding to A was 3.5 cm and that of B was 4.1 cm above the original spot.  What are the retention factors for A and B?  Which component would elude first from a column chromatography using the same absorbant and solvent?

- Describe how thin layer chromatography could be used to analyze a urine sample for the presence of cocaine if you had a known sample in the lab.

- Why is it important that the sample to be analyzed by tlc be dry?

- Why must the solvent level be below the original spot on the tlc plate?

- Why must the cap be in place on the bottle during the tlc separation?

7.  Attach the carbons from your notebook.

GLC

1.  Include the regular heading.

2.  Explain in your own words the physical basis for gas chromatography and how it works to separate and purify compounds.

3.  State in a few sentences what you did.  Be sure to give information about the column(s) used and the temperature(s).

4.  Make a table:

stationary phase:  carbowax

column temperature:

carrier gas:  air

detector:  TCD

4-methyl-2-pentanol	retention time =

Known:  	retention   height   width-1/2h  area   calculated

time (sec)  (units)  (units)   	 (units) weight %

4-methyl-2-pentanol

4-methyl-2-pentanone

Unknown: 	retention  height  width-1/2h   area    calculated

time (sec) (units) (units)     	(units)  weight %

5.  Discuss the results of your experiment.

6.  Attach the chromatograms that you ran, suitably labeled.

(show your calculations!)

7.  Attach the notebook carbons.

8.  Answer the following questions:

In a glc three peaks are observed and their areas are calculated as follows: A, 13.5 mm2; B, 20.2 mm2; C, 4.6 mm2.  What is the % composition of each component in this mixture?

Describe how the identity of each of the components could be determined if known samples of two of the compounds were available.

In the known 50%/50% mixture of alcohol and ketone, why are the areas of the two peaks not equal?